EV Charging Station Install Load Letter Form

| Today’s Date: |  |
| --- | --- |

| Service Address: |  |
| --- | --- |
| Building Type: |  |
| EVLD Incentive Application #: (if applicable) |  |

Describe the premise and scope of work related to the EV chargers and any other loads:

Service Questions (All Questions must be answered or may result in rejection)

| Q1 | Are you requesting a new or separate utility service? Note: If you have an existing service going to the premise and you request for a new separate service, this may result in an additional cost known as Excess Distribution Facility (EDF) cost. | ☐Yes, no existing service ☐Yes, require new or separate service ☐No, prefer to use or upgrade existing utility service |
| --- | --- | --- |
| Q2 | Is this a deeded or non-deeded property? Note: Any service request to a non-deeded property will be considered temporary; customer is responsible for costs associated to installation and removal of service. | ☐ Deeded property. Fill Parcel Info below: NYC Tax Block #: ______ Lot #: ______ Westchester TaxID: ______ ☐Non-deeded property (Not a Parcel/Taxable Lot) |
| Q3 | Future-proofing load studies will determine if an additional service upgrade is necessary (e.g. larger transformer pad, spare vaults and conduits). - Con Edison may not supply additional utility equipment or infrastructure required to support future-proofing loads. If provided, these may incur accommodation costs - A separate case will likely need to be filed when the site is ready to proceed with any additional utility upgrades associated to the future loads Are you verifying if the service request for the EV loads will be adequate for future proofing loads (at least 3 years from the time of filing)? | ☐Yes (refer to Future Proofing section on page 4) ☐No |
| Q4 | List existing Meter(s) associated to the new EV chargers. Optional, please list existing account number(s) associated to the new EV chargers. | Existing Meter #(s) for EV loads: _______________ Existing Acct #s for EV loads (optional): ☐Requesting new meters for EV loads |
| Q5 | Are you requesting new Con Edison meter(s)? | ☐Yes Estimated Qty: ____ ☐No |
| Q5a | If you are requesting new meter(s) on an existing service, list existing meter(s) associated to the existing utility service. Note: We will need the meter information to understand the current loads at your existing service: - For low voltage or transformer service, list at least 1 existing meter - For high tension service, list all existing meters | ☐Yes, On-premise meter #(s): ________________ ☐Not applicable, requesting new service |
| Q6 | Do you require a utility outage to energize new equipment? Note: Any off-hour outage requests during the weekend, holidays, or outside of normal work schedule (Monday-Friday 7am-3pm) may result in an accommodation cost | ☐Yes ☐No (have an existing-line side disconnect switch or requesting new service) ☐Not Sure |
| Q7 | Preferred Incoming Utility Service Voltage Note: - Service Voltage provided by the utility is dependent on the utility infrastructure within the vicinity of the premise. - 277/480V service voltage can only be supplied by Con Edison transformer(s) located on customer premise or sidewalk | ☐120/208V ☐277/480V ☐120/240V ☐High Tension ☐13kV ☐27kV ☐33kV ☐Any |
| Q8 | Type of Vehicles that will be charged at the station? (Please reflect on the table provided) Vehicle Class; GVWR Category. Class 1: < 6,000; Light duty <10,000 lbs.. Class 2: 6,001 - 10,000 lbs. Class 3: 10,001 - 14,000 lbs; Medium Duty 10,001 - 26,000 lbs.. Class 4: 14,001 - 16,0000 lbs. Class 5: 16,001 - 19,500 lbs. Class 6: 19,501 - 26,000 lbs. Class 7: 26,001 - 33,000 lbs; Heavy Duty >26,001 lbs.. Class 8: > 33,001 lbs. | ☐ Any ☐ Light Duty ☐ Medium/ Heavy Duty (MHD) For MHD vehicles, please include additional details that will help inform the load study: Vehicle Class or Category; Quantity; Vehicle Battery size per vehicle (kWh). |
| Q9 | Indicate EV Charging end-use? (Select any that apply) | ☐ Public Charging ☐ Residential ☐ Taxi/Livery ☐ Commercial ☐ Trucking/Delivery |
| Q10 | What hours of the day will vehicles typically be charged? | ☐ Peak hours (8am to 10pm) ☐ Off-peak hours (10pm to 8am) ☐ Anytime |
| Q11 | What days of the week will vehicles typically be charged? | ​☐ Weekday (Monday to Friday) ☐ Weekend (Saturday to Sunday) ☐ Unsure |
| Q12 | Are there plans to use load management to limit the connected load(s)? Note: Service determinations will only account for hardware limiting the loads and not load management software. For any limiting hardware please provide details in the Load Management Information section below. | ☐ Hardware ☐ Both (software & hardware) ☐ None |
| Q13 | List any other Energy Service electric cases associated to this premise. Note: This is important to understand all the loads on-site for a proper ruling | MC Case #(s): ________________________________ ☐Owner is not aware of any other Energy Service case |

Loads for Service Request

Load studies for submitted case will incorporate equipment loads that is anticipated to be installed within 3 years

Electric Vehicle Charger Load Information

(Equipment that will be installed within 3 years from application submittal. All fields must be populated or may result in rejection)

| Charger Type (Make & Model) | L2 or DCFC | Charger Quantity [A] | Input Power (AC) Max kW per Charger* [B] | Ports (Plugs) per Charger | # of Vehicles that can charge simultaneously per charger | Total Connected kW per Charger Type [C] =[A] x [B] | Total Max Demand kW per Charger/ Cabinet Type** | Ø | Charger Power Req. (volt and amp) | Estimated Date of Install |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Load (kW) |  |  |  |  |  |  |  |  |  |  |

* Must list maximum output of charger without factoring load management

** Customer hardware, such as Power Cabinets, may limit power levels below the EV charger’s capabilities. As a result, charger output is capped at the requested kW to ensure safe and efficient operation. Note: this field does not reflect software-based load limitations. If your project includes software-imposed limits, please complete the next section, “EV Load Management Information,” to provide those details.

Ø: Quantity of Phases

EV Load Management Information

If applicable, describe any load management software used with the Electric Vehicle Chargers? Note: Load management software will not be considered for service determinations, because it can be reprogrammed for a larger power output.

If applicable, describe any proposed hardware limiting the Electric Vehicle Charger loads? Note: Include size of equipment - Ie. fused-disconnect switches and circuit breakers

☐ Required: Customer understands that hardware limiting devices must be reflected on the one-line diagram. Any changes to the loads or design will require resubmission of the load letter and one line diagram.

Other Non-EV Loads

(If applicable, include equipment that will be installed within 3 years from application submittal. Adding residential or non-residential building loads may require a new application in Project Center for EV and non-EV loads)

| Equipment Type | Connected load per equipment (kW/HP) | Quantity | Total Connected load (kW) | Estimated Date of Install | Comments (For heating or cooling equipment, please include the square footage) |
| --- | --- | --- | --- | --- | --- |
| Total Load (kW) |  |  |  |  |  |
| Comments: |  |  |  |  |  |

Future Proofing Load

Future proofing loads are for equipment that will be energized at least 3 years from now. If you requested for future proofing study under Question 3 (Q3), understand that it will only inform if an additional service upgrade is necessary (e.g. larger transformer pad, spare vaults and conduits). Con Edison may not supply additional utility equipment or infrastructure required to support future-proofing loads. If provided, these may incur accommodation costs. A separate case will likely need to be filed when the site is ready to proceed with any additional utility upgrades associated to the future loads.

Future Proofing Electric Vehicle Charger Load Information

(If applicable, include equipment that will be installed beyond 3 years from application submittal.)

| Charger Type (Make & Model) | L2 or DCFC | Charger Quantity [A] | Input Power (AC) Max kW per Charger* [B] | Ports (Plugs) per Charger | # of Vehicles that can charge simultaneously per charger | Total Connected kW per Charger Type [C] =[A] x [B] | Total Max Demand kW per Charger/ Cabinet Type** | Ø | Charger Power Req. (volt and amp) | Estimated Date of Install |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Load (kW) |  |  |  |  |  |  |  |  |  |  |
| Future Proofing Comments: |  |  |  |  |  |  |  |  |  |  |

* Must list maximum output of charger without factoring load management

** Customer hardware, such as Power Cabinets, may limit power levels below the EV charger’s capabilities. As a result, charger output is capped at the requested kW to ensure safe and efficient operation. Note: this field does not reflect software-based load limitations. If your project includes software-imposed limits, please complete the next section, “EV Load Management Information,” to provide those details.

Ø: Quantity of Phases

Future Proofing Other Non-EV Loads

(If applicable, include equipment that will be installed beyond 3 years from application submittal. Adding non-EV residential or commercial building loads may require submitting a new case in Project Center for EV and non-EV loads)

| Equipment Type | Connected load per equipment (kW/HP) | Quantity | Total Connected load (kW) | Estimated Date of Install | Comments (For heating or cooling equipment, please include the square footage) |
| --- | --- | --- | --- | --- | --- |
| Total Load (kW) |  |  |  |  |  |
| Future Proofing Comments: |  |  |  |  |  |